## NTPC_Materials
Material_Number | Item_Title | Technical_Specs | Unit_Of_Measurement | Category_Dept | Vendor_Ref
NTPC-MECH-7842 | STAINLESS STEEL HEXAGON HEAD BOLT 16MM DIA 50MM LENGTH SS 304 | CONFORMING TO ISO 4016 FULL THREAD | EA | MECHANICAL | Sundram Fasteners
NTPC-VALV-9901 | BALL VALVE 50MM NB ASME B16.34 CLASS 300 WCB RF FLANGED | 2 PIECE CAST STEEL BODY ASTM A216 WCB | EA | TURBINE_AUX | Audco India
NTPC-ELEC-5501 | 3-PHASE SQUIRREL CAGE INDUCTION MOTOR 75KW 415V 1480RPM | IP55 TEFC FRAME 280M FOOT MOUNTED 50HZ | EA | ELECTRICAL | Siemens India
NTPC-MECH-3310 | FLANGE WELD NECK 4 IN 150 LBS ASTM A105 | RAISED FACE BORE MATCHING SCH 40 ASME B16.5 | EA | PIPING | Gujarat Forgings
NTPC-CHEM-1209 | LUBRICATING OIL TURBINE GRADE ISO VG 46 | SYNTHETIC BASE WITH ANTI-OXIDANT ADDITIVES | L | CHEMICAL_LAB | Castrol India